## Slide 1
MRI Coil Types
By:RF-Coaxial
www.rf-coaxial.com

## Slide 2
Types of coils in MRI
· Gradient Coils
●RF Coils

## Slide 3
Gradient coils (X & Y& Z)
●Slice selection
· Phase encoding
· Frequency encoding
MRI Scanner Gradient Magnets
Y Coil
Z Coil
RF Coil
Shimming Coil、
Gradient Coil、
Magnet
Transceiver
Patient
X Coil

## Slide 4
RF Coils
Surface coils
Phase array coils
Volume coil
Quadrature coils
Helmholtz coils
Some other specific coils

## Slide 5
Simplest design
Single channel---no couple with Parallel Imaging (iPAT)
Receiver
For local area due to small coverage
High SNR but low homogeneity
·
Surface coils
Surface coils

## Slide 6
Proton spins in x-y plane
B
6
Received signal
RF coil transmitter/receiver
Received Signal

## Slide 7
Surface coils types

## Slide 8
Surface coils
SNR vs. Depth for Surface Coils
3” diameter circle
6” diameter circle
Head Coil
Body Coil
Distance
Relative Coil Sensitivity

## Slide 9
Shoulder
Elbow
Wrist & hand
TMJ
Eyeball
Local anatomy(prostate)
Surface Coils Applications

## Slide 10
Surface Coils Applications
Coronal PD fat sat
Shoulder Coil

## Slide 11
Surface coils applications
Endorectal Coil
Cor T2w TSE

## Slide 12
Loop coil for TMJ&eye ball &wrist &hand
Surface coils applications

## Slide 13
Surface coils applications
Flex surface coil-large &small

## Slide 14
 | Several overlap surface coil
 | More than one channel
 | High SNR but low homogeneity
 | Compatible with parallel image (iPAT/ASSET)
Phase array coils

## Slide 15
Parallel Imaging(k-space base)

## Slide 16
Parallel imaging (image base)

## Slide 17
iPAT pitfalls

## Slide 18
Thorax
CMR
Abdomen &Pelvic
MRCP&MRU&MR enterography
Extra cranial Angio and venography
Upper and lower Extremity
Total Spine
Breast
Joints
Phase array coils applications

## Slide 19
Phase array coils types

## Slide 20
Phase array coils applications
Body phase array coil

## Slide 21
Phase Array Coils Applications
Breast phase array coil
Axial 3D T2 SPAIR TSE

## Slide 22
Phase array coils applications
Run-off Angio
Lower Ext. Coil

## Slide 23
Phase Array Coils Applications
Total spine-sag T2w TSE
TIM phase array coil

## Slide 24
Consist saddle &solenoid and some phase array reform coil
Coverage whole ROI
Receiver
High homogeneity &SNR
Usually are single channel
Not Compatible with parallel imaging(iPAT or ASSET)
Volume coils

## Slide 25
Elbow
Wrist &hand
Knee
Foot
Ankle
Thorax & abdomen (body coil)
Volume coils applications

## Slide 26
Volume coils types

## Slide 27
Volume Coils Applications
Body Coil
Axial T2w TSE

## Slide 28
Volume coils applications
3D acquisition
hand &wrist coil

## Slide 29
Knee coil-Multi channel
Volume coils applications
Sagittal T2*GRE

## Slide 30
Volume coils applications
Elbow &wrist &hand

## Slide 31
Volume Coils Applications
Multi channel foot &ankle
Sagittal STIR

## Slide 32
Coverage whole ROI
Transceiver
Usually more than one channel
Compatible with parallel imaging(iPAT or ASSET)
Best homogeneity and high SNR(birdcage coil)
Quadrature coils

## Slide 33
SNR× (√2)
Quadrature coils
Bird Cage Coil

## Slide 34
Quadrature Coils Applications
·
Head
Brain MRA&MRV
MRS
Knee
Foot
Ankle
Shimming test

## Slide 35
Quadrature Coils Applications
Parallel Acquisition technique
8 channel head coil

## Slide 36
Quadrature coils applications
Knee &Foot &Ankle-Quad.coil
Foot &Ankle-volume coil

## Slide 37
Helmholtz coils
Special for open magnet
Pair loop coil
Detect the signal in Z plane

## Slide 38
Tm
T
TKT
T
TM
Helmholtz coils types
100
T

## Slide 39
Catheter coils(investigational device)
Micro coils (NMR&MRS in Ultra high field magnet
Litz coil(high resolution images of animal)
Millipede coils (best homogeneity for MRS)
Special other coils

## Slide 40
Litzcoils applications
FOV=1/5cm Matrix size=512x512(9/4 T)

## Slide 41
Micro coils applications

## Slide 42
V
。
Catheter coils applications

## Slide 43
Thank you
If you need MRi coil repair components,please refer to :
www.rf-coaxial.com